## precipitation notes
HUBBARD BROOK ECOSYSTEM STUDY |  |  |  |  | SAMPLE NOTES
PRECIPITATION SAMPLES
Conversion Factors
DATE COLLECTED (MM/DD/YYYY): |  |  |  | Initials: |  | 10 in. Bulk Rain Funnel: NET divided by 51.1 = catch
N/A if Overfilled
12 in. Bulk Snow Bucket: NET divided by 69.3 = catch
SITE |  | COLLECTOR
| TIME | VOLUME | CATCH |  |  |  |  | Volumes Collected
| (EST) | (ml) | (mm) |  |  | STA/22 | RG-1 | RG-4 | RG-23
RG-22 |  |  |  |  | Gross g
RG-1 |  |  |  |  | Tare g
RG-4 |  |  |  |  | Net g
RG-23
SITE |  | CONTAMINATION
( 0 = none:1 = low ------------------------------> 5 = high )
| Fine | Coarse | Bird | Insects | Color | GB | CODES
| PM | PM | FECES |  |  | Ring
RG-22
RG-1
RG-4
RG-23
ADDTL COMMENTS:
Applicable codes:
955 = QNS: Quantity Not Sufficient for analyses (< 100 mL NET catch) | [5 empty] | 922= Precipitation collection delayed until next week's routine collections.
969 = Possible Contamination: Check Analyses | [6 empty] | (delay due to road conditions or personnel issues)
970 = Obvious Contamination: Sample REJECTED | [5 empty] | 923= RG-1 unavailable (due to contamination or lack of volume) RG-4 substituted.

## field notes
HUBBARD BROOK ECOSYSTEM STUDY |  |  |  |  | FIELD NOTES
Streamwater Samples |  |  | Date Collected (MM/DD/YYYY): |  |  |  | Initials:
SITE | TIME | TEMP | GAGE | HYDROGR | COLOR | SEDIMENT | REMARKS | CODES
| (EST) | (°C) | HT. | L/R/F/PK | (0 = none:1 = low---->5 = high)
WS-1
WS-2
WS-3
WS-4
WS-5
WS-6
WS-7
WS-8
WS-9
HBK
ML70
ADDTL COMMENTS:
Applicable codes: 911= High Flow Event in Progress; 912 = Drought Conditions (syringe from Standing Pool)
955 = QNS: Quantity Not Sufficient for analyses; 969=Possible Contamination:Check Analyses; 970= Obvious Contamination: Sample REJECTED
922= Precipitation collection delayed until next week's routine collections. (delay due to road conditions or personnel issuse)
923= RG-1 unavailable (due to contamination or lack of volume) RG-4 substituted.

## lab worksheet
HUBBARD BROOK ECOSYSTEM STUDY
METROHM / 3 STAR LAB ANALYSES
DATE RUN (MM/DD/YYYY): |  |  |  | RUN BY:
Meter CALIBRATION:
| Conductivity Correction Factor (x): |  |  | at (°C Lab Temp):
Samples: | DATE | Metrohm |  |  | 3 Star | SpCond | Remarks
| COLLECTED | pH |  |  | pH | @ 25°C | Codes
Precipitation
RG-22
RG-1
RG-4
RG-23
|  | Metrohm | Metrohm | ANC | 3 Star | SpCond | Remarks
Streamwater |  | pH | ANC | end pt. pH | pH | @ 25°C | Codes
WS-1
WS-2
WS-3
WS-4
WS-5
WS-6
WS-7
WS-8
WS-9
HBK
ML70
_______
_______
ADDITIONAL COMMENTS:
Applicable codes: 911= High Flow Event in Progress; 912 = Drought Conditions (syringe from Standing Pool)
955 = QNS: Quantity Not Sufficient for analyses; 969=Possible Contamination:Check Analyses;
970= Obvious Contamination: Sample REJECTED
922= Precipitation collection delayed until next week's routine collections. (delay due to road conditions or personnel issuse)
923= RG-1 unavailable (due to contamination or lack of volume) RG-4 substituted.

## DIC
Samples | DIC
µM/L
ML-70
W-1
W-2
W-3
W-4
W-5
W-6
W-7
W-8
W-9
HBk

## grab sample worksheet
HUBBARD BROOK ECOSYSTEM STUDY
Grab Sample Lab Analyses Worksheet
| Site | DATE (MM/DD/YYYY) | EST | Metrohm | Metrohm | end pt. | 3 Star | SpCond | °C | gage ft | Remarks
|  |  |  | pH | ANC | pH | pH | µs/cm |  | L/R/F/PK
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
NOTES: